## Slide 1
SMART SOLUTIONS SEMESTER
Testing device membrane fabrics for motorcycling

## Slide 2: CONTENT
Introduction
Creation of the prototype
Testing
Results
Manual
Questions

## Slide 3
01.
INTRODUCTION

## Slide 4
REV’IT!
Saxion University of Applied Science Enschede
Electrical Engineering and Fashion & Textile Technologies
Comfort and safety
Create a testing device which can determine the breathability of a fabric by measuring the weight of the cup, the temperature and the humidity

## Slide 5
02.
CREATION
OF THE PROTOTYPE

## Slide 6: RECREATION
Recreated rings
Laser cut foam and paper rings
Recreated cup
Aluminium cup
Technical drawing cup ring
Recreated aluminium cup ring
Technical drawing cup
Recreated aluminium cup

## Slide 7: SENSORS

## Slide 9: EXPECTED VIEW PROTOTYPE
3D
VIEW

## Slide 10: PROTOTYPE

## Slide 11: MANUFACTURE

## Slide 12: HERAEUS B 5028
230 V
50-60 Hz
0.29 kW
30 liters
10o C - 70o C
Built-in thermometer
Smooth regulation
29 kgs
Inside: 28 x 33 x 35 cm

## Slide 13: SOFTWARE

## Slide 14
03.
TESTING

## Slide 15
CHEMICAL LAB

## Slide 16
TESTING PROTOTYPE

## Slide 17
04.
RESULTS

## Slide 18: FINAL PROTOTYPE

## Slide 19
05.
MANUAL

## Slide 21
QUESTIONS?